## DATA INPUT
62%
Nume Client: |  |  |  |  | 20% |  | σταθερή ρύθμιση
|  |  | Εκπτωση λεβητοστασίου πελάτη: |  |  |  | μεταβλητή ρύθμιση
Numar oferta:
Pas montaj: |  |  | Art.3890BV pg 216 Kit cu robineti si by-pass (PIESA H)
Grup de amestec: |  |  |  | Plasa armare fibra sticla
Regleta electrica 6 zone |  |  |  | Kit Conexiuni electrice
μεταβλητή ρύθμιση
Suprafata nivel 1: |  | Numar termostate : | Rezultate
Pardoseala Tiemme
Suprafata nivel 2: |  | Numar termostate : | Materiale sistem: | 2307.3864
| ` |  | Materiale sapa: | 172.1172
Suprafata nivel 3: |  | Numar termostate : | Automatizare: | 390.3883
|  |  | Total Oferta fara TVA: | 2869.8919
Suprafata nivel 4: |  | Numar termostate : | TVA: | 573.9784
|  |  | Total Oferta cu TVA: | 3443.8703
Suprafata nivel 5: |  | Numar termostate :
Suprafata nivel 6: |  | Numar termostate :
Suprafata nivel 7: |  | Numar termostate :
Profil de dilatare: | m
Folie PE anti-umiditate
Folie PE anti-umiditate
Folie PE anti-umiditate
Folie PE anti-umiditate
Folie PE anti-umiditate
Folie PE anti-umiditate
Folie PE anti-umiditate
GENEREAZA OFERTA

## UNDERFLOOR MATERIALS
*
*
*
*
[8 empty] | * | ΥΛΙΚΑ ΔΙΑΣ. | -416.0863
[8 empty] | * | ΜΠΕΤΟΝ | 70.338
OFERTA ESTIMATIVA SITEM DE INCALZIRE PRIN PARDOSEALA | [7 empty] | * | ΑΥΤΟΝ. | 345.7483
SYSTEM TECHNO | [7 empty] | *
*
Client: | instal grup | [6 empty] | *
Nr. Oferta | 1 | [6 empty] | *
2026-07-30 | [7 empty] | * | TECHNO
Cod produs | Desciere | Valoare € fara TVA | Cantitate standard | Necesar oferta | Cantitate totala | Pret total € fara TVA |  | *
4500361 | Thermal insulation panel NEW CLASSIC, 50mm studs, thickness 10mm, RC 10% 250Κpa | 17.02 | 21.12 | 0 | 0 | 0 |  |  | 773.2
4500362 | Thermal insulation panel NEW CLASSIC, 50mm studs, thickness 20mm, RC 10% 150Κpa | 14.48 | 11.52 | 0 | 0 | 0
4500363 | Thermal insulation panel NEW CLASSIC, 50mm studs, thickness 20mm, RC 10% 200Κpa | 16.69 | 11.52 | 0 | 0 | 0
4500364 | Thermal insulation panel NEW CLASSIC, 50mm studs, thickness 30mm, RC 10% 150Κpa | 16.94 | 9.6 | 0 | 0 | 0
4500365 | Thermal insulation panel NEW CLASSIC, 50mm studs, thickness 30mm, RC 10% 200Κpa | 18.62 | 9.6 | 0 | 0 | 0
4500369 | Thermal panel TECHNO with no insulation, thickness 1mm | 16.296 | 44.8 | 0 | 0 | 0
4500370 | Thermal insulation panel TECHNO, 50mm studs, thickness 10mm, RC 10% 200 Kpa | 18.972 | 20.16 | 0 | 0 | 0
4500371 | Art.4502 Placa cu nuturi TECHNO, grosime 20mm, RC 10% 150 Kpa // NET | 5.7 | 13.44 | 120 | 120.96 | 689.472 |  | *
4500372 | Thermal insulation panel TECHNO, 50mm studs, thickness 30mm, RC 10% 150 Kpa | 23.436 | 11.2 | 0 | 0 | 0
4500015 | Thermal insulation panel PLUS in rolls, thickness 20mm, RC 10% 200 Kpa | 17.58 | 12 | 0 | 0 | 0
4500011 | Thermal insulation panel PLUS in rolls, thickness 30mm, RC 10% 200 Kpa | 19.92 | 10 | 0 | 0 | 0
4500443 | Art.4507S6 Banda perimetrala cu adeziv si folie PE | 1.704 | 50 | 150 | 150 | 255.6 |  | *
0200003 | Art.0200B Teava pex Cobrapex cu bariera Evoh anti-oxygen, 16x2mm, Colac 300m // NET | 0.492 | 300 | 10 | 1200 | 590.4 |  | *
0340077 | Art.1480P Cot de ghidare la 90° din plastic | 1.128 | 25 | 25 | 25 | 28.2 |  | * | instal grup 1
4500018 | Art.4527 Colier de fixare (cuie) pentru fixare teava/plasa de armare | 0.252 | 100 | 0 | 0 | 0 | 0
4500023 | Art.4508 Profil de dlilatare | 7.908 | 2 | 0 | 0 | 0
4500019 | Art.4540 Aditiv de sapa 10 kg | 7.404 | 25 | 25 | 25 | 185.1 |  | *
4500022 | Art.4532 Plasa fibra de sticla 100 m2/rola | 5.076 | 50 | 150 | 0 | 0
4500014 | Plastic clip to fix the pipe to the panel | 0.204 | 900 | 0 | 0 | 0
4500382 | U profile rail for pipes, spacing 50mm and multiple | 5.592 | 1 | 0 | 0 | 0
4500025 | Art.4503 Folie PE 120 m2/rola | 2.232 | 120 | 120 | 120 | 267.84 |  | *
3850045 | Floor 1" distribution manifold, with flow meters and thermostatic option, 2 exits | 189.6 | 1 | 0 | 0 | 0
3850029 | Floor 1" distribution manifold, with flow meters and thermostatic option, 3 exits | 233.676 | 1 | 0 | 0 | 0
3850020 | Floor 1" distribution manifold, with flow meters and thermostatic option, 4 exits | 277.704 | 1 | 0 | 0 | 0
3850011 | Floor 1" distribution manifold, with flow meters and thermostatic option, 5 exits | 321.744 | 1 | 0 | 0 | 0
3850010 | Floor 1" distribution manifold, with flow meters and thermostatic option, 6 exits | 365.808 | 1 | 0 | 0 | 0
3850009 | Floor 1" distribution manifold, with flow meters and thermostatic option, 7 exits | 414.888 | 1 | 0 | 0 | 0
3850002 | Floor 1" distribution manifold, with flow meters and thermostatic option, 8 exits | 459.048 | 1 | 0 | 0 | 0
3850014 | Floor 1" distribution manifold, with flow meters and thermostatic option, 9 exits | 510.648 | 1 | 0 | 0 | 0
3850036 | Floor 1" distribution manifold, with flow meters and thermostatic option, 10 exits | 554.604 | 1 | 0 | 0 | 0
3850041 | Floor 1" distribution manifold, with flow meters and thermostatic option, 11 exits | 598.368 | 1 | 0 | 0 | 0
3850022 | Floor 1" distribution manifold, with flow meters and thermostatic option, 12 exits | 642.468 | 1 | 0 | 0 | 0
3850062 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 2 circuite 3/4"x18 (eurocono) | 228.792 | 1 | 0 | 0 | 0
3850061 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 3 circuite 3/4"x18 (eurocono) | 272.868 | 1 | 0 | 0 | 0
3850043 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 4 circuite 3/4"x18 (eurocono) | 316.896 | 1 | 0 | 0 | 0
3850026 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 5 circuite 3/4"x18 (eurocono) | 360.924 | 1 | 0 | 0 | 0
3850001 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 6 circuite 3/4"x18 (eurocono) | 405 | 1 | 0 | 0 | 0
3850004 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 7 circuite 3/4"x18 (eurocono) | 454.092 | 1 | 0 | 0 | 0
3850008 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 8 circuite 3/4"x18 (eurocono) | 498.24 | 1 | 0 | 0 | 0
3850013 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 9 circuite 3/4"x18 (eurocono) | 549.828 | 1 | 0 | 0 | 0
3850006 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 10 circuite 3/4"x18 (eurocono) | 593.82 | 1 | 0 | 0 | 0
3850021 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 11 circuite 3/4"x18 (eurocono) | 637.596 | 1 | 0 | 0 | 0
3850007 | Art. 3873 Colector de distributie 1" cu debitmetre si by-pass, 12 circuite 3/4"x18 (eurocono) | 681.684 | 1 | 0 | 0 | 0
5570029 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 2 exits | 313.92 | 1 |  | 0 | 0
5570030 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 3 exits | 357.984 | 1 |  | 0 | 0
5570031 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 4 exits | 410.904 | 1 |  | 0 | 0
5570032 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 5 exits | 468.264 | 1 |  | 0 | 0
5570033 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 6 exits | 512.328 | 1 |  | 0 | 0
5570034 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 7 exits | 583.608 | 1 |  | 0 | 0
5570035 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 8 exits | 627.756 | 1 |  | 0 | 0
5570036 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 9 exits | 679.356 | 1 |  | 0 | 0
5570037 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 10 exits | 736.644 | 1 |  | 0 | 0
5570038 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 11 exits | 780.408 | 1 |  | 0 | 0
5570039 | Floor 1" distribution manifold, fully insulated, with flow meters and thermostatic option, 12 exits | 824.52 | 1 |  | 0 | 0
5570040 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 2 exits | 353.112 | 1 |  | 0 | 0
5570041 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 3 exits | 397.188 | 1 |  | 0 | 0
5570042 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 4 exits | 450.096 | 1 |  | 0 | 0
5570043 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 5 exits | 507.432 | 1 |  | 0 | 0
5570044 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 6 exits | 551.52 | 1 |  | 0 | 0
5570045 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 7 exits | 622.8 | 1 |  | 0 | 0
5570046 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 8 exits | 666.96 | 1 |  | 0 | 0
5570047 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 9 exits | 718.548 | 1 |  | 0 | 0
5570048 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 10 exits | 775.86 | 1 |  | 0 | 0
5570049 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 11 exits | 819.624 | 1 |  | 0 | 0
5570050 | Floor 1" distribution manifold, fully insulated, with flow meters, thermostatic option and by pass, 12 exits | 863.724 | 1 |  | 0 | 0
3890036 | Art.3895G Grup de amestec cu pompa electronica Grundfoss UPS 25-40/50/60 // NET | 158.4 | 1 | 2 | 2 | 316.8 |  | *
4500082 | Art.3890BV Kit cu robineti de închidere 1" si by-pass [piesa H] | 105.744 | 1 | 0 | 0 | 0
4500032 | Art.9561KIT01 Cap termostatic cu senzor la distanta si teaca cu racord 1/2" [20-50oC] // NET | 30 | 1 | 2 | 2 | 60 |  | *
3850015 | Art. 3049KIT02 By-pass pentru colector | 40.992 | 1 | 2 | 2 | 81.984 |  | *
1500672 | Art.1514 Set racorduri excentrice 1" MF (25mm) // NET | 11.64 | 2 | 2 | 4 | 46.56 |  | *
3850047 | Art.3049 Colector de distributie 1" cu debitmetre, 2 circuite 3/4"x18 (eurocono) | 120.432 | 1 | 0 | 0 | 0
3850039 | Art.3049 Colector de distributie 1" cu debitmetre, 3 circuite 3/4"x18 (eurocono) | 165.924 | 1 | 0 | 0 | 0
3850032 | Art.3049 Colector de distributie 1" cu debitmetre, 4 circuite 3/4"x18 (eurocono) | 211.368 | 1 | 0 | 0 | 0
3850016 | Art.3049 Colector de distributie 1" cu debitmetre, 5 circuite 3/4"x18 (eurocono) | 256.824 | 1 | 0 | 0 | 0
3850003 | Art.3049 Colector de distributie 1" cu debitmetre, 6 circuite 3/4"x18 (eurocono) | 302.34 | 1 | 2 | 2 | 604.68 |  | *
3850012 | Art.3049 Colector de distributie 1" cu debitmetre, 7 circuite 3/4"x18 (eurocono) | 352.992 | 1 | 0 | 0 | 0
3850019 | Art.3049 Colector de distributie 1" cu debitmetre, 8 circuite 3/4"x18 (eurocono) | 398.568 | 1 | 0 | 0 | 0
3850025 | Art.3049 Colector de distributie 1" cu debitmetre, 9 circuite 3/4"x18 (eurocono) | 451.836 | 1 | 0 | 0 | 0
3850037 | Art.3049 Colector de distributie 1" cu debitmetre, 10 circuite 3/4"x18 (eurocono) | 497.232 | 1 | 0 | 0 | 0
3850053 | Art.3049 Colector de distributie 1" cu debitmetre, 11 circuite 3/4"x18 (eurocono) | 542.448 | 1 | 0 | 0 | 0
3850046 | Art.3049 Colector de distributie 1" cu debitmetre, 12 circuite 3/4"x18 (eurocono) | 587.952 | 1 | 0 | 0 | 0
1810020 | Art.1940 Caseta reglabila pe adancime si inaltime, dim: 600x670x120mm //NET | 85.2811 | 1 | 0 | 0 | 0
1810016 | Art.1940 Caseta reglabila pe adancime si inaltime, dim: 700x670x120mm //NET | 90.5774 | 1 | 0 | 0 | 0
1810015 | Art.1940 Caseta reglabila pe adancime si inaltime, dim: 850x670x120mm //NET | 98.7422 | 1 | 2 | 2 | 197.4845 |  | *
1810019 | Art.1940 Caseta reglabila pe adancime si inaltime, dim: 1000x670x120mm //NET | 109.0498 | 1 | 0 | 0 | 0
1810025 | Art.1940 Caseta reglabila pe adancime si inaltime, dim: 1200x670x120mm //NET | 115.8924 | 1 | 0 | 0 | 0
1810012 | Art.1939 Caseta reglabila pe adancime si inaltime, dim: 500x620x90 //NET | 45.492 | 1 | 0 | 0 | 0
1810006 | Art.1939 Caseta reglabila pe adancime si inaltime, dim: 700x620x90 //NET | 51.528 | 1 | 0 | 0 | 0
1810009 | Art.1939 Caseta reglabila pe adancime si inaltime, dim: 1000x620x90 //NET | 64.212 | 1 | 0 | 0 | 0
1440011 | Art.1436N Conector 16x3/4" pentru racord Eurocono | 3.324 | 10 | 30 | 30 | 99.72 |  | *
9570005 | Art.4625D Regleta electrica 6 zone | 211.404 | 1 | 0 | 2 | 0
4500006 | Art.9567 Servocomanda electrotermica 230V NORMAL INCHIS, 4 fire | 58.368 | 1 | 12 | 12 | 700.416 |  | *
9570002 | Art.9575 Termostat de ambient electromecanic | 22.908 | 1 | 6 | 6 | 137.448 |  | *
4500063 | Art.2075 Kit conexiuni electrice // NET | 36 | 1 | 2 | 2 | 72 |  | *
2130007 | 2-way motorized ball valve | 160.08 | 1 | 0 | 0 | 0
*
*
*
|  |  |  | Total cu Discount |  |  |  | *
| Materiale sistem | 2970.9005 |  |  | 2307.3864 |  |  | *
| Materiale pentru sapa | 452.94 |  |  | 172.1172 |  |  | *
| Control Temperatura | 909.864 |  |  | 390.3883 |  |  | *
| Total Oferta fara TVA: |  |  |  | 2869.8919 |  |  | *
|  |  | TVA: |  | 573.9784 |  |  | *
|  | Total Oferta cu TVA: |  |  | 3443.8703 |  |  | *
*
*
*
Cantitatile din oferta sunt estimative. In urma achizitionarii intregului sistem, firma noastra pune la dispozitie proiectul. | [7 empty] | *
Printeaza Oferta la IMPRIMANTA

## Sheet3
instal grup |  |  | Έκπτωση Συνεργάτη: | 62%
[7 empty] | NEW CLASSIC | 2 |  | NU | 2
Κτήριο κατηγορίας: | c | [5 empty] | TECHNO |  |  | DA
Αριθμός επιπέδων: |  |  | Στο έδαφος | Αυτονομία |  |  | PLUS
επιφάνεια επιπέδου 1: | 60 | 60 | TRUE | 3 | 2 | 1
επιφάνεια επιπέδου 2: | 60 | 60 | FALSE | 5 | 4 |  |  | 1
επιφάνεια επιπέδου 3: | 0 | 0 | FALSE | 1 | 0 |  | Pas 10 cm | 1 | A
επιφάνεια επιπέδου 4: | 0 | 0 | FALSE | 1 | 0 |  | Pas mixt (10-15 cm) |  | B
επιφάνεια επιπέδου 5: | 0 | 0 | FALSE | 1 | 0 |  | Pas 15 cm |  |  |  | Regleta electrica
επιφάνεια επιπέδου 6: | 0 | 0 | FALSE | 1 | 0 | [6 empty] | NU | 1
επιφάνεια επιπέδου 7: | 0 | 0 | FALSE | 1 | 0 | [6 empty] | DA
Μέθοδος διαστρωσης: | TECHNO
Έλεγχος θερμοκρασίας επιπέδου 1: | 0 | [5 empty] | 0 |  |  |  | Piesa H
Έλεγχος θερμοκρασίας επιπέδου 2: | 0 | [5 empty] | 1 |  |  |  |  | NU | 1
Έλεγχος θερμοκρασίας επιπέδου 3: | 0 | [5 empty] | 2 |  |  |  |  | DA
Έλεγχος θερμοκρασίας επιπέδου 4: | [6 empty] | 3
Έλεγχος θερμοκρασίας επιπέδου 5: | [6 empty] | 4 |  |  |  | Fibra de sticla
Έλεγχος θερμοκρασίας επιπέδου 6: | [6 empty] | 5 |  |  |  |  | NU | 1
Έλεγχος θερμοκρασίας επιπέδου 7: | [6 empty] | 6 |  |  |  |  | DA
7
Ειδική επιλογή πλάκας: | FALSE | [5 empty] | 8 |  |  |  | Kit conexiuni Electrice
10-40 | [6 empty] | 9 |  |  |  |  | NU | 2
20-30 | [6 empty] | 10 |  |  |  |  | DA
30-25 | [6 empty] | 12
30-30 | [6 empty] | 12
13
30 | [6 empty] | 14
15
Μέτρα αρμών διαστολής | 0 | 0 |  |  |  |  | 16
Μέτρα ράγας στήριξης για Φ16 | 0 | [5 empty] | 17
18
TECHNO ΧΩΡΙΣ ΜΟΝΩΣΗ | 3
TECHNO 10-200
TECHNO 20-150
TECHNO 30-150

## Sheet4
Υπολογισμός συλλεκτών | [29 empty] | Η/Β | ΘΕΡΜ | ΠΙΝΑΚΑΣ | ΚΕΦΑΛΕΣ
[30 empty] | 0 | 6 | 2 | 12
Επίπεδο 1
Επιφάνεια | 60
κτήριο | c | [6 empty] | χωρίς bypass
m2/κυκλ | 10 |  |  |  | SYL0 | SYL1 | SYL2
Κυκλώματα : | 6 | 6 |  |  | 6 | 0 | 0 | [29 empty] | πινακες |  | Rakor
Αυτονομία | 2 |  | Η/Β | ΘΕΡΜ | ΠΙΝΑΚΑΣ | ΚΕΦΑΛΕΣ |  | Έξοδοι | [21 empty] | Τεμάχια | [6 empty] | 500 | 0 | 24 | 16X2 | 24
|  |  | 0 | 2 | 0 | 6 |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 700 | 2 | 0
Επίπεδο 2 | [7 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1000 | 0 | 0 |  | 24
[8 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
Επιφάνεια | 60 | [6 empty] | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
κτήριο | c | [6 empty] | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 24
m2/κυκλ | 10 |  |  |  | SYL0 | SYL1 | SYL2 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
Κυκλώματα : | 6 | 6 |  |  | 6 | 0 | 0 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
Αυτονομία | 4 |  | Η/Β | ΘΕΡΜ | ΠΙΝΑΚΑΣ | ΚΕΦΑΛΕΣ |  | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
|  |  | 0 | 4 | 0 | 6 |  | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
Επίπεδο 3 | [7 empty] | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
[8 empty] | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [8 empty] | 0
Επιφάνεια | 0 | [9 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 0
κτήριο | c
m2/κυκλ | 10 |  |  |  | SYL0 | SYL1 | SYL2
Κυκλώματα : | 0 | 0 |  |  | 0 | 0 | 0
Αυτονομία | 0 |  | Η/Β | ΘΕΡΜ | ΠΙΝΑΚΑΣ | ΚΕΦΑΛΕΣ
|  |  | 0 | 0 | 0 | 0 | [28 empty] | 3046 |  |  | 3047
[8 empty] | Υπολογιστμός νάυλον | [20 empty] | Έξοδοι |  | 1863 στηρ. | 3049kit01 | 2121B | 2121R | 2 | 3 | 4 | 2 | 3 | 4
Επίπεδο 4 | [7 empty] | 60 | [20 empty] | 2 | 0 | 1 | 1 | 1 | 1 | 1 |  |  | 1
[8 empty] | 0 | [20 empty] | 3 | 0 | 1 | 1 | 1 | 1 |  | 1 |  |  | 1
Επιφάνεια | 0 | [6 empty] | 0 | [20 empty] | 4 | 0 | 1 | 1 | 1 | 1 |  |  | 1 |  |  | 1
κτήριο | c | [6 empty] | 0 | [20 empty] | 5 | 0 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1
m2/κυκλ | 10 |  |  |  | SYL0 | SYL1 | SYL2 | 0 | [20 empty] | 6 | 0 | 1 | 1 | 1 | 1 |  | 2 |  |  | 2
Κυκλώματα : | 0 | 0 |  |  | 0 | 0 | 0 | 0 | [20 empty] | 7 | 0 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1 | 1
Αυτονομία | 0 |  | Η/Β | ΘΕΡΜ | ΠΙΝΑΚΑΣ | ΚΕΦΑΛΕΣ |  | 0 | [20 empty] | 8 | 0 | 1 | 1 | 1 | 1 |  |  | 2 |  |  | 2
|  |  | 0 | 0 | 0 | 0 |  | 60 | [20 empty] | 9 | 0 | 1 | 1 | 1 | 1 |  | 3 |  |  | 3
[29 empty] | 10 | 0 | 1 | 1 | 1 | 1 | 1 |  | 2 | 1 |  | 2
Επίπεδο 5 | [28 empty] | 11 | 0 | 1 | 1 | 1 | 1 |  | 1 | 2 |  | 1 | 2
[29 empty] | 12 | 0 | 1 | 1 | 1 | 1 |  |  | 3 |  |  | 3
Επιφάνεια | 0 | [29 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
κτήριο | c
m2/κυκλ | 10 |  |  |  | SYL0 | SYL1 | SYL2 | με bypass
Κυκλώματα : | 0 | 0 |  |  | 0 | 0 | 0
Αυτονομία | 0 |  | Η/Β | ΘΕΡΜ | ΠΙΝΑΚΑΣ | ΚΕΦΑΛΕΣ |  | Έξοδοι | [21 empty] | Τεμάχια
|  |  | 0 | 0 | 0 | 0 |  | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Επίπεδο 6 | [7 empty] | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Επιφάνεια | 0 | [6 empty] | 6 | 1 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2
κτήριο | c | [6 empty] | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
m2/κυκλ | 10 |  |  |  | SYL0 | SYL1 | SYL2 | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Κυκλώματα : | 0 | 0 |  |  | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Αυτονομία | 0 |  | Η/Β | ΘΕΡΜ | ΠΙΝΑΚΑΣ | ΚΕΦΑΛΕΣ |  | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 |  | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[8 empty] | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 1 |  |  | 1 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 | 2
Επίπεδο 7
Επιφάνεια | 0
κτήριο | c
m2/κυκλ | 10 |  |  |  | SYL0 | SYL1 | SYL2
Κυκλώματα : | 0 | 0 |  |  | 0 | 0 | 0 | [21 empty] | Έξοδοι
Αυτονομία | 0 |  | Η/Β | ΘΕΡΜ | ΠΙΝΑΚΑΣ | ΚΕΦΑΛΕΣ | [22 empty] | 2 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0 | [22 empty] | 3 | 0 | 0 | 0
[29 empty] | 4 | 0 | 0 | 0
[29 empty] | 5 | 0 | 0 | 0
[29 empty] | 6 | 2 | 0 | 2
[29 empty] | 7 | 0 | 0 | 0
[29 empty] | 8 | 0 | 0 | 0
[29 empty] | 9 | 0 | 0 | 0
[29 empty] | 10 | 0 | 0 | 0
[29 empty] | 11 | 0 | 0 | 0
[29 empty] | 12 | 0 | 0 | 0
2

## Sheet2 (2) (hidden)
0
Άτομα | ΖΝΧ | [5 empty] | Σπίτι | Puffer
1 | 200 | 1050 | 1 | 18 | 100 | 1 | 100 | 800 | 4704BOILER0800 | 4 | 2265.13 | 25 | 125 | 2 | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
2 | 200 | 1050 | 1 | 18 | 100 | 1 | 150 | 800 | 4704BOILER0800 | 5 | 2265.13 | 35 | 195 | 2 | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
3 | 300 | 1200 | 2 | 18 | 100 | 1 | 200 | 1000 | 4704BOILER01000 | 6 | 2656.7 | 50 | 250 | 2 |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
4 | 300 | 1200 | 2 | 18 | 100 | 1 | 251 | 1500 | 4704BOILER0150000 | 10 | 2656.7 | 50 | 250 | 3 |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
5 | 400 | 1500 | 3 | 18 | 100 | 1 | 1000 | [9 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
6 | 400 | 1500 | 3 | 18 | 100 | 1 | [10 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
7 | 500 | 1700 | 4 | 25 | 125 | 2 | [10 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
8 | 500 | 1700 | 4 | 25 | 125 | 2 | [10 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
9 | 800 | 2800 | 5 | 35 | 195 | 2 | [10 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
10 | 800 | 2800 | 5 | 35 | 195 | 2 | [10 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
11 | 1000 | 3150 | 6 | 50 | 250 | 2 | [10 empty] | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
12 | 1000 | 215 | 6 | 50 | 250 | 2 | [10 empty] | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF!
#REF!
[17 empty] | ZNX | Puffer | Collectors | pr znx | pr puf | pr. Exp | vol exp | antigel\
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
kit flow | #REF! | [7 empty] | 1,5-6 | 0 | 5 |  |  | 425 | #REF! | #REF!
[9 empty] | 4-16 | 5 | 13 |  |  | 425 | #REF! | #REF!
kit flow | #REF! | [7 empty] | 8-28 | 13 | 28 |  |  | 425 | #REF! | #REF!
[15 empty] | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
200 | 900 |  | #REF! | [13 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
300 | 1050 |  | #REF! |  |  |  | #REF! | [9 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
400 | 1250 |  | #REF! |  |  |  | #REF! | [9 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
500 | 1600 |  | #REF! | [13 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
800 | 2400 |  | #REF! | [13 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
1000 | 2900 |  | #REF! | [13 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
|  |  | #REF! | [13 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
[18 empty] | #REF! | #REF! | #REF! | #REF! | #REF!
[17 empty] | ZNX | pr znx | Collectors | vol exp | pr. Exp | antigel\
[17 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
200 | 1700 |  | #REF! | [5 empty] | 1,5-6 | 0 | 5 |  |  | 425 | #REF! | #REF!
300 | 1700 |  | #REF! | [5 empty] | 4-16 | 5 | 13 |  |  | 425 | #REF! | #REF!
400 | 2200 |  | #REF! | [5 empty] | 8-28 | 13 | 28 |  |  | 425 | #REF! | #REF!
500 | 2500 |  | #REF! | [11 empty] | #REF! | #REF!
800 | 4400 |  | #REF!
1000 | 5000 |  | #REF!
#REF!
Επίπεδη ταράτσα
Κεκλιμένη στέγη με κεραμίδια